## Areas List
PV zone |  |  |  | Array
No. | area ㎡ | aver. slope ° | aver. aspect ° | Main array | Filled array1 | Filled array2 | QTY. of main array | QTY. of filled array1 | QTY. of filled array2 | capacity kWp | Tilt ° | Azimuth ° | Aver. pitch m | MIN pitch m | MAX pitch m | other info
1 | 13646 | 14 | -155.3 | 2*13方阵 | 2*7方阵 |  | 0 | 0 | 0 | 743.6 | 15 | 0 | 13.32 | 10.5 | 17.9 | Pitch calculate from:9h0min to15h0min;Auto vary pitch;Auto delete shaded, shift60min;No vertical gap;No horizontal gap
2 | 41569 | 4.3 | 44.4 | 2*13方阵 | 2*7方阵 | 2*6方阵 | 0 | 0 | 0 | 4947.8 | 15 | 0 | 7.3 | 5.3 | 17.7 | Pitch calculate from:9h0min to15h0min;Auto vary pitch;Not delete shaded;No vertical gap;No horizontal gap