## Grounding Gird
No. | Material/Type | Quantity | Unit | Use | Note
1 | 50×5 copper clad flat steel | 2192 | m | Horizontal grounding trunk
2 | 50×5 hot-dip galvanized flat steel | 400 | m | Bracket grounding (not into the ground) | A total of 326
3 | 50×5 hot-dip galvanized flat steel | 881 | m | Bracket grounding(into the ground)
4 | DN100 | 0 | m | Conduit for Grounding Main Cable Road Crossings | A total of 0
5 | Φ16 copper clad steel rod | 23 | pcs. | Vertical ground electrode
6 | BV-1×50mm² yellow-green phase insulated copper wire | 30 | m | String inverter/combiner box grounding | A total of 30